## 封面
MS-001
导引软件单元测试用例
编制/时间：
审核/时间：
批准/时间：
杭州三坛医疗科技有限公司

## 文档履历
文档更改履历
版本号 | 发布/实施日期 | 更改内容概述 | 更改者
V1.0 |  | 文件新编

## 01校准
01校准
测试用例ID | 测试用例 | 测试名称 | 判断 | 输入项目 | 输出结果 | 验证人 | 验证日期 | 结果 | 测试状态
B-UT0101001 | MarkerRegistrationTest | RegistrationTest | 校准测试 | TEST_F(MarkerRegistrationTest, RegistrationTest) | [----------] 11 tests from MarkerRegistrationTest [ RUN ] MarkerRegistrationTest.RegistrationTest [ OK ] MarkerRegistrationTest.RegistrationTest (14 ms) [ RUN ] MarkerRegistrationTest.Pos2MatTest [ OK ] MarkerRegistrationTest.Pos2MatTest (0 ms) [ RUN ] MarkerRegistrationTest.QjkTest [ OK ] MarkerRegistrationTest.QjkTest (31 ms) [ RUN ] MarkerRegistrationTest.SoftAssignTest [ OK ] MarkerRegistrationTest.SoftAssignTest (2 ms) [ RUN ] MarkerRegistrationTest.FindMatchTest [ OK ] MarkerRegistrationTest.FindMatchTest (0 ms) [ RUN ] MarkerRegistrationTest.PoseUpdateTest [ OK ] MarkerRegistrationTest.PoseUpdateTest (3 ms) [ RUN ] MarkerRegistrationTest.ProcessTest [ OK ] MarkerRegistrationTest.ProcessTest (73 ms) [ RUN ] MarkerRegistrationTest.SetNormalizeTransformParaTest [ OK ] MarkerRegistrationTest.SetNormalizeTransformParaTest (0 ms) [ RUN ] MarkerRegistrationTest.SetInitialPoseParaTest [ OK ] MarkerRegistrationTest.SetInitialPoseParaTest (0 ms) [ RUN ] MarkerRegistrationTest.SetFocalLengthTest [ OK ] MarkerRegistrationTest.SetFocalLengthTest (0 ms) [ RUN ] MarkerRegistrationTest.SetCostValueTest [ OK ] MarkerRegistrationTest.SetCostValueTest (0 ms) [----------] 11 tests from MarkerRegistrationTest (131 ms total) | 杨斌 | 2021-02-01 | OK | PASS
B-UT0101002 |  | Pos2MatTest | 位置转为矩阵测试 | TEST_F(MarkerRegistrationTest, Pos2MatTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0101003 |  | QjkTest | Qjk运算测试 | TEST_F(MarkerRegistrationTest, QjkTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0101004 |  | SoftAssignTest | 软分配测试 | TEST_F(MarkerRegistrationTest, SoftAssignTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0101005 |  | FindMatchTest | 寻找匹配测试 | TEST_F(MarkerRegistrationTest, FindMatchTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0101006 |  | PoseUpdateTest | 更新姿态测试 | TEST_F(MarkerRegistrationTest, PoseUpdateTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0101007 |  | ProcessTest | 运行进程测试 | TEST_F(MarkerRegistrationTest, ProcessTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0101008 |  | SetNormalizeTransformParaTest | 设置归一化变换参数测试 | TEST_F(MarkerRegistrationTest, SetNormalizeTransformParaTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0101009 |  | SetInitialPoseParaTest | 设置初始化姿态参数测试 | TEST_F(MarkerRegistrationTest, SetInitialPoseParaTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0101010 |  | SetFocalLengthTest | 设置焦距测试 | TEST_F(MarkerRegistrationTest, SetFocalLengthTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0101011 |  | SetCostValueTest | 取值测试 | TEST_F(MarkerRegistrationTest, SetCostValueTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0102001 | calibrationProcessorTest | InitializeTest | 初始化测试 | TEST_F(calibrationProcessorTest, InitializeTest) | [----------] 6 tests from calibrationProcessorTest [ RUN ] calibrationProcessorTest.InitializeTest [ OK ] calibrationProcessorTest.InitializeTest (2 ms) [ RUN ] calibrationProcessorTest.PreparedTest [ OK ] calibrationProcessorTest.PreparedTest (0 ms) [ RUN ] calibrationProcessorTest.CalibrateImageTest [ OK ] calibrationProcessorTest.CalibrateImageTest (2 ms) [ RUN ] calibrationProcessorTest.UndistortPointTest [ OK ] calibrationProcessorTest.UndistortPointTest (1 ms) [ RUN ] calibrationProcessorTest.StartGetCoefficientTest [ OK ] calibrationProcessorTest.StartGetCoefficientTest (0 ms) [ RUN ] calibrationProcessorTest.GetCoefficientTest [ OK ] calibrationProcessorTest.GetCoefficientTest (388025 ms) [----------] 6 tests from calibrationProcessorTest (388037 ms total) | 杨斌 | 2021-02-01 | OK | PASS
B-UT0102002 |  | PreparedTest | 准备测试 | TEST_F(calibrationProcessorTest, PreparedTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0102003 |  | CalibrateImageTest | 校准图像测试 | TEST_F(calibrationProcessorTest, CalibrateImageTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0102004 |  | UndistortPointTest | 校正点测试 | TEST_F(calibrationProcessorTest, UndistortPointTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0102005 |  | StartGetCoefficientTest | 开始获取系数测试 | TEST_F(calibrationProcessorTest, StartGetCoefficientTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0102006 |  | GetCoefficientTest | 获取系数测试 | TEST_F(calibrationProcessorTest, GetCoefficientTest) |  | 杨斌 | 2021-02-01 | OK | PASS
B-UT0103001 | RobotRegistrationProcessorTest | IsCalibratedTest | 是否已校正测试 | TEST_F(RobotRegistrationProcessorTest, IsCalibratedTest) | [----------] 23 tests from RobotRegistrationProcessorTest [ RUN ] RobotRegistrationProcessorTest.IsCalibratedTest [ OK ] RobotRegistrationProcessorTest.IsCalibratedTest (107 ms) [ RUN ] RobotRegistrationProcessorTest.IsRegsiteredTest [ OK ] RobotRegistrationProcessorTest.IsRegsiteredTest (63 ms) [ RUN ] RobotRegistrationProcessorTest.IsFrontalRegsiteredTest [ OK ] RobotRegistrationProcessorTest.IsFrontalRegsiteredTest (57 ms) [ RUN ] RobotRegistrationProcessorTest.IsLateralRegsiteredTest [ OK ] RobotRegistrationProcessorTest.IsLateralRegsiteredTest (58 ms) [ RUN ] RobotRegistrationProcessorTest.LastLocationTest [ OK ] RobotRegistrationProcessorTest.LastLocationTest (73 ms) [ RUN ] RobotRegistrationProcessorTest.LastErrorTest [ OK ] RobotRegistrationProcessorTest.LastErrorTest (49 ms) [ RUN ] RobotRegistrationProcessorTest.ArmPoseTest [ OK ] RobotRegistrationProcessorTest.ArmPoseTest (48 ms) [ RUN ] RobotRegistrationProcessorTest.XRayCalibratedTest [ OK ] RobotRegistrationProcessorTest.XRayCalibratedTest (50 ms) [ RUN ] RobotRegistrationProcessorTest.CalibrateXRayTest [ OK ] RobotRegistrationProcessorTest.CalibrateXRayTest (64 ms) [ RUN ] RobotRegistrationProcessorTest.CalibrateFrontalXRayTest [ OK ] RobotRegistrationProcessorTest.CalibrateFrontalXRayTest (49 ms) [ RUN ] RobotRegistrationProcessorTest.CalibrateLateralXRayTest [ OK ] RobotRegistrationProcessorTest.CalibrateLateralXRayTest (72 ms) [ RUN ] RobotRegistrationProcessorTest.SaveCalibratedXRayTest [ OK ] RobotRegistrationProcessorTest.SaveCalibratedXRayTest (56 ms) [ RUN ] RobotRegistrationProcessorTest.SaveFrontalCalibratedXRayTest [ OK ] RobotRegistrationProcessorTest.SaveFrontalCalibratedXRayTest (67 ms) [ RUN ] RobotRegistrationProcessorTest.SaveLateralCalibratedXRayTest [ OK ] RobotRegistrationProcessorTest.SaveLateralCalibratedXRayTest (57 ms) [ RUN ] RobotRegistrationProcessorTest.ArmFrontalRegistrationTest [ OK ] RobotRegistrationProcessorTest.ArmFrontalRegistrationTest (74 ms) [ RUN ] RobotRegistrationProcessorTest.ArmLateralRegistrationTest [ OK ] RobotRegistrationProcessorTest.ArmLateralRegistrationTest (49 ms) [ RUN ] RobotRegistrationProcessorTest.Frontal2LateralMatrixTest [ OK ] RobotRegistrationProcessorTest.Frontal2LateralMatrixTest (122 ms) [ RUN ] RobotRegistrationProcessorTest.LocatRayTest [ OK ] RobotRegistrationProcessorTest.LocatRayTest (58 ms) [ RUN ] RobotRegistrationProcessorTest.Locat3dRayTest [ OK ] RobotRegistrationProcessorTest.Locat3dRayTest (55 ms) [ RUN ] RobotRegistrationProcessorTest.ArmFrontalMatrixTest [ OK ] RobotRegistrationProcessorTest.ArmFrontalMatrixTest (64 ms) [ RUN ] RobotRegistrationProcessorTest.ArmLateralMatrixTest [ OK ] RobotRegistrationProcessorTest.ArmLateralMatrixTest (69 ms) [ RUN ] RobotRegistrationProcessorTest.Mat2VectorTest [ OK ] RobotRegistrationProcessorTest.Mat2VectorTest (63 ms) [ RUN ] RobotRegistrationProcessorTest.Vector2MatTest [ OK ] RobotRegistrationProcessorTest.Vector2MatTest (79 ms) [----------] 23 tests from RobotRegistrationProcessorTest (1545 ms total) | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103002 |  | IsRegsiteredTest | 是否已校准测试 | TEST_F(RobotRegistrationProcessorTest, IsRegsiteredTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103003 |  | IsFrontalRegsiteredTest | 是否已正位校准测试 | TEST_F(RobotRegistrationProcessorTest, IsFrontalRegsiteredTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103004 |  | IsLateralRegsiteredTest | 是否已侧位校准测试 | TEST_F(RobotRegistrationProcessorTest, IsLateralRegsiteredTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103005 |  | LastLocationTest | 返回当前位置测试 | TEST_F(RobotRegistrationProcessorTest, LastLocationTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103006 |  | LastErrorTest | 返回当前错误测试 | TEST_F(RobotRegistrationProcessorTest, LastErrorTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103007 |  | ArmPoseTest | 机械臂姿势测试 | TEST_F(RobotRegistrationProcessorTest, ArmPoseTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103008 |  | XRayCalibratedTest | X光已校正测试 | TEST_F(RobotRegistrationProcessorTest, XRayCalibratedTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103009 |  | CalibrateXRayTest | 校正X光测试 | TEST_F(RobotRegistrationProcessorTest, CalibrateXRayTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103010 |  | CalibrateFrontalXRayTest | 正位X光校正测试 | TEST_F(RobotRegistrationProcessorTest, CalibrateFrontalXRayTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103011 |  | CalibrateLateralXRayTest | 侧位X光校正测 | TEST_F(RobotRegistrationProcessorTest, CalibrateLateralXRayTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103012 |  | SaveCalibratedXRayTest | 保存X光校正测试 | TEST_F(RobotRegistrationProcessorTest, SaveCalibratedXRayTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103013 |  | SaveFrontalCalibratedXRayTest | 保存正位X光校正测试 | TEST_F(RobotRegistrationProcessorTest, SaveFrontalCalibratedXRayTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103014 |  | SaveLateralCalibratedXRayTest | 保存侧位X光校正测试 | TEST_F(RobotRegistrationProcessorTest, SaveLateralCalibratedXRayTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103015 |  | ArmFrontalRegistrationTest | 机械臂正位校准测试 | TEST_F(RobotRegistrationProcessorTest, ArmFrontalRegistrationTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103016 |  | ArmLateralRegistrationTest | 机械臂侧位校准测试 | TEST_F(RobotRegistrationProcessorTest, ArmLateralRegistrationTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103017 |  | Frontal2LateralMatrixTest | 正侧位关系矩阵测试 | TEST_F(RobotRegistrationProcessorTest, Frontal2LateralMatrixTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103018 |  | LocatRayTest | 位置通道测试 | TEST_F(RobotRegistrationProcessorTest, LocatRayTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103019 |  | Locat3dRayTest | 三维位置通道测试 | TEST_F(RobotRegistrationProcessorTest, Locat3dRayTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103020 |  | ArmFrontalMatrixTest | 机械臂正位矩阵测试 | TEST_F(RobotRegistrationProcessorTest, ArmFrontalMatrixTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103021 |  | ArmLateralMatrixTest | 机械臂侧位矩阵测试 | TEST_F(RobotRegistrationProcessorTest, ArmLateralMatrixTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103022 |  | Mat2VectorTest | 矩阵转数组测试 | TEST_F(RobotRegistrationProcessorTest, Mat2VectorTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0103023 |  | Vector2MatTest | 数组转矩阵测试 | TEST_F(RobotRegistrationProcessorTest, Vector2MatTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104001 | RobotWorkerTest | PreparedTest | 准备测试 | TEST_F(RobotWorkerTest, PreparedTest) | [----------] 24 tests from RobotWorkerTest [ RUN ] RobotWorkerTest.PreparedTest [ OK ] RobotWorkerTest.PreparedTest (64 ms) [ RUN ] RobotWorkerTest.SaveFrontalTest [ OK ] RobotWorkerTest.SaveFrontalTest (66 ms) [ RUN ] RobotWorkerTest.SaveLateralTest [ OK ] RobotWorkerTest.SaveLateralTest (76 ms) [ RUN ] RobotWorkerTest.CalibrateFrontalTest [ OK ] RobotWorkerTest.CalibrateFrontalTest (63 ms) [ RUN ] RobotWorkerTest.CalibratelateralTest [ OK ] RobotWorkerTest.CalibratelateralTest (57 ms) [ RUN ] RobotWorkerTest.RegistrationFrontalTest [ OK ] RobotWorkerTest.RegistrationFrontalTest (67 ms) [ RUN ] RobotWorkerTest.RegistrationLateralTest [ OK ] RobotWorkerTest.RegistrationLateralTest (47 ms) [ RUN ] RobotWorkerTest.LaserLocateTest [ OK ] RobotWorkerTest.LaserLocateTest (131 ms) [ RUN ] RobotWorkerTest.PathLocateTest [ OK ] RobotWorkerTest.PathLocateTest (115 ms) [ RUN ] RobotWorkerTest.Get3dPointsTest [ OK ] RobotWorkerTest.Get3dPointsTest (63 ms) [ RUN ] RobotWorkerTest.GetCal2flangeMatrixTest [ OK ] RobotWorkerTest.GetCal2flangeMatrixTest (49 ms) [ RUN ] RobotWorkerTest.GetCalibrationCoefficientTest [ OK ] RobotWorkerTest.GetCalibrationCoefficientTest (382545 ms) [ RUN ] RobotWorkerTest.StartCalibrationCoefficientTest [ OK ] RobotWorkerTest.StartCalibrationCoefficientTest (79 ms) [ RUN ] RobotWorkerTest.LoadMarkerDataTest [ OK ] RobotWorkerTest.LoadMarkerDataTest (56 ms) [ RUN ] RobotWorkerTest.MarkerDetectTest [ OK ] RobotWorkerTest.MarkerDetectTest (78 ms) [ RUN ] RobotWorkerTest.RegistrationTest [ OK ] RobotWorkerTest.RegistrationTest (62 ms) [ RUN ] RobotWorkerTest.GetPointOnLineTest [ OK ] RobotWorkerTest.GetPointOnLineTest (65 ms) [ RUN ] RobotWorkerTest.GetPose2dTest [ OK ] RobotWorkerTest.GetPose2dTest (58 ms) [ RUN ] RobotWorkerTest.GetPose3dTest [ OK ] RobotWorkerTest.GetPose3dTest (48 ms) [ RUN ] RobotWorkerTest.RobertPose2MatrixTest [ OK ] RobotWorkerTest.RobertPose2MatrixTest (49 ms) [ RUN ] RobotWorkerTest.Pos2MatrixTest [ OK ] RobotWorkerTest.Pos2MatrixTest (57 ms) [ RUN ] RobotWorkerTest.ConnectedRegionTest [ OK ] RobotWorkerTest.ConnectedRegionTest (58 ms) [ RUN ] RobotWorkerTest.GetInitializeTest [ OK ] RobotWorkerTest.GetInitializeTest (56 ms) [ RUN ] RobotWorkerTest.CompensateTransfromTest [ OK ] RobotWorkerTest.CompensateTransfromTest (58 ms) [----------] 24 tests from RobotWorkerTest (384109 ms total) | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104002 |  | SaveFrontalTest | 保存正位测试 | TEST_F(RobotWorkerTest, SaveFrontalTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104003 |  | SaveLateralTest | 保存侧位测试 | TEST_F(RobotWorkerTest, SaveLateralTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104004 |  | CalibrateFrontalTest | 正位校正测试 | TEST_F(RobotWorkerTest, CalibrateFrontalTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104005 |  | CalibratelateralTest | 侧位校正测试 | TEST_F(RobotWorkerTest, CalibratelateralTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104006 |  | RegistrationFrontalTest | 正位校准测试 | TEST_F(RobotWorkerTest, RegistrationFrontalTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104007 |  | RegistrationLateralTest | 侧位校准测试 | TEST_F(RobotWorkerTest, RegistrationLateralTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104008 |  | LaserLocateTest | 通道定位测试 | TEST_F(RobotWorkerTest, LaserLocateTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104009 |  | PathLocateTest | 定位路径测试 | TEST_F(RobotWorkerTest, PathLocateTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104010 |  | Get3dPointsTest | 获取3d点测试 | TEST_F(RobotWorkerTest, Get3dPointsTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104011 |  | GetCal2flangeMatrixTest | 获取法兰矩阵测试 | TEST_F(RobotWorkerTest, GetCal2flangeMatrixTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104012 |  | GetCalibrationCoefficientTest | 获取校正关系矩阵测试 | TEST_F(RobotWorkerTest, GetCalibrationCoefficientTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104013 |  | StartCalibrationCoefficientTest | 开始畸变校正测试 | TEST_F(RobotWorkerTest, StartCalibrationCoefficientTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104014 |  | LoadMarkerDataTest | 载入Marker球数据测试 | TEST_F(RobotWorkerTest, LoadMarkerDataTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104015 |  | MarkerDetectTest | 监测Marker球测试 | TEST_F(RobotWorkerTest, MarkerDetectTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104016 |  | RegistrationTest | 校准测试 | TEST_F(RobotWorkerTest, RegistrationTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104017 |  | GetPointOnLineTest | 获取在线点测试 | TEST_F(RobotWorkerTest, GetPointOnLineTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104018 |  | GetPose2dTest | 获取2d姿态测试 | TEST_F(RobotWorkerTest, GetPose2dTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104019 |  | GetPose3dTest | 获取3d姿态 | TEST_F(RobotWorkerTest, GetPose3dTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104020 |  | RobertPose2MatrixTest | 机器姿态转成矩阵测试 | TEST_F(RobotWorkerTest, RobertPose2MatrixTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104021 |  | Pos2MatrixTest | 位置转成矩阵测试 | TEST_F(RobotWorkerTest, Pos2MatrixTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104022 |  | ConnectedRegionTest | 联通区域测试 | TEST_F(RobotWorkerTest, ConnectedRegionTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104023 |  | GetInitializeTest | 获取初始化信息测试 | TEST_F(RobotWorkerTest, GetInitializeTest) |  | 杨斌 | 2021-02-02 | OK | PASS
B-UT0104024 |  | CompensateTransfromTest | 补偿转换测试 | TEST_F(RobotWorkerTest, CompensateTransfromTest) |  | 杨斌 | 2021-02-02 | OK | PASS
Note on F1: 后面几列结果仅隐藏。作为纯用例

## 02定位
02定位
测试用例ID | 测试用例 | 测试名称 | 判断 | 输入项目 | 输出结果 | 验证人 | 验证日期 | 结果 | 测试状态
B-UT0201001 | ArmDriveURTest | InitProcessorTest | 初始化处理器测试 | TEST_F(ArmDriveURTest, InitProcessorTest) | [----------] 56 tests from ArmDriveURTest [ RUN ] ArmDriveURTest.InitProcessorTest Com3 open failed [ OK ] ArmDriveURTest.InitProcessorTest (77 ms) [ RUN ] ArmDriveURTest.StartServerTest Com3 open failed [ OK ] ArmDriveURTest.StartServerTest (138 ms) [ RUN ] ArmDriveURTest.StateTest Com3 open failed [ OK ] ArmDriveURTest.StateTest (140 ms) [ RUN ] ArmDriveURTest.IsConnectedTest Com3 open failed [ OK ] ArmDriveURTest.IsConnectedTest (142 ms) [ RUN ] ArmDriveURTest.IsFreeDriveTest Com3 open failed [ OK ] ArmDriveURTest.IsFreeDriveTest (146 ms) [ RUN ] ArmDriveURTest.CheckProcessorTest Com3 open failed [ OK ] ArmDriveURTest.CheckProcessorTest (140 ms) [ RUN ] ArmDriveURTest.SetPortTest Com3 open failed [ OK ] ArmDriveURTest.SetPortTest (141 ms) [ RUN ] ArmDriveURTest.ConnectArmTest Com3 open failed [ OK ] ArmDriveURTest.ConnectArmTest (138 ms) [ RUN ] ArmDriveURTest.DisconnectArmTest Com3 open failed Could not parse stylesheet of object 0x214a88a1500 [ OK ] ArmDriveURTest.DisconnectArmTest (572 ms) [ RUN ] ArmDriveURTest.StartTest Com3 open failed [ OK ] ArmDriveURTest.StartTest (138 ms) [ RUN ] ArmDriveURTest.StopTest Com3 open failed [ OK ] ArmDriveURTest.StopTest (158 ms) [ RUN ] ArmDriveURTest.PauseTest Com3 open failed [ OK ] ArmDriveURTest.PauseTest (143 ms) [ RUN ] ArmDriveURTest.ResumeTest Com3 open failed [ OK ] ArmDriveURTest.ResumeTest (147 ms) [ RUN ] ArmDriveURTest.MoveLaserTest Com3 open failed [ OK ] ArmDriveURTest.MoveLaserTest (128 ms) QIODevice::write (QTcpSocket): device not open [ RUN ] ArmDriveURTest.MoveChannelTest Com3 open failed [ OK ] ArmDriveURTest.MoveChannelTest (148 ms) QIODevice::write (QTcpSocket): device not open [ RUN ] ArmDriveURTest.MovePathTest Com3 open failed [ OK ] ArmDriveURTest.MovePathTest (131 ms) [ RUN ] ArmDriveURTest.SetFreeDriveTest Com3 open failed [ OK ] ArmDriveURTest.SetFreeDriveTest (190 ms) [ RUN ] ArmDriveURTest.SetSpeedTest QIODevice::write (QTcpSocket): device not open Com3 open failed [ OK ] ArmDriveURTest.SetSpeedTest (149 ms) [ RUN ] ArmDriveURTest.laserSwitchTest QIODevice::write (QTcpSocket): device not open Com3 open failed [ OK ] ArmDriveURTest.laserSwitchTest (140 ms) [ RUN ] QIODevice::write (QTcpSocket): device not open ArmDriveURTest.ResetArmTest Com3 open failed [ OK ] ArmDriveURTest.ResetArmTest (159 ms) QIODevice::write (QTcpSocket): device not open [ RUN ] ArmDriveURTest.FrontalLateralResetArmTest Com3 open failed [ OK ] ArmDriveURTest.FrontalLateralResetArmTest (208 ms) [ RUN ] ArmDriveURTest.ResetLocationTest Com3 open failed [ OK ] ArmDriveURTest.ResetLocationTest (69 ms) [ RUN ] ArmDriveURTest.AlignArmTestQIODevice::write (QSerialPort): device not open Com3 open failed [ OK ] ArmDriveURTest.AlignArmTest (139 ms) QIODevice::write (QTcpSocket): device not open [ RUN ] ArmDriveURTest.OriginPosTest Com3 open failed [ OK ] ArmDriveURTest.OriginPosTest (5755 ms) [ RUN ] ArmDriveURTest.SetOriginTest Com3 open failed [ OK ] ArmDriveURTest.SetOriginTest (70 ms) [ RUN ] QIODevice::write (QTcpSocket): device not open ArmDriveURTest.SetOrigin1Test Com3 open failed [ OK ] ArmDriveURTest.SetOrigin1Test (214 ms) QIODevice::write (QTcpSocket): device not open [ RUN ] ArmDriveURTest.SetChannelInvalidTest Com3 open failed [ OK ] ArmDriveURTest.SetChannelInvalidTest (131 ms) [ RUN ] ArmDriveURTest.ArmPosTest Com3 open failed [ OK ] ArmDriveURTest.ArmPosTest (147 ms) QIODevice::write (QTcpSocket): device not open [ RUN ] ArmDriveURTest.FrontalRegisterArmWithXRayTest Com3 open failed [ OK ] ArmDriveURTest.FrontalRegisterArmWithXRayTest (140 ms) [ RUN ] QIODevice::write (QTcpSocket): device not open ArmDriveURTest.LateralRegisterArmWithXRayTest Com3 open failed [ OK ] ArmDriveURTest.LateralRegisterArmWithXRayTest (138 ms) [ RUN ] QIODevice::write (QTcpSocket): device not open ArmDriveURTest.RegisterArmWithXRayTest Com3 open failed [ OK ] ArmDriveURTest.RegisterArmWithXRayTest (139 ms) [ RUN ] QIODevice::write (QTcpSocket): device not open ArmDriveURTest.UpdateAngleTest Com3 open failed [ OK ] ArmDriveURTest.UpdateAngleTest (154 ms) [ RUN ] ArmDriveURTest.UpdateHeightTest Com3 open failed [ OK ] ArmDriveURTest.UpdateHeightTest (155 ms) [ RUN ] ArmDriveURTest.UpdateHeightAngleTest Com3 open failed [ OK ] ArmDriveURTest.UpdateHeightAngleTest (139 ms) [ RUN ] ArmDriveURTest.StretchArmTest QIODevice::write (QTcpSocket): device not open Com3 open failed [ OK ] ArmDriveURTest.StretchArmTest (139 ms) QIODevice::write (QTcpSocket): device not open [ RUN ] ArmDriveURTest.ExtendArmTest Com3 open failed [ OK ] ArmDriveURTest.ExtendArmTest (147 ms) [ RUN ] QIODevice::write (QTcpSocket): device not open ArmDriveURTest.StowageArmTest Com3 open failed [ OK ] ArmDriveURTest.StowageArmTest (130 ms) QIODevice::write (QTcpSocket): device not open [ RUN ] ArmDriveURTest.Update2dAngleTest Com3 open failed [ OK ] ArmDriveURTest.Update2dAngleTest (147 ms) QIODevice::write (QTcpSocket): device not open [ RUN ] ArmDriveURTest.Update2dHeightTest Com3 open failed [ OK ] ArmDriveURTest.Update2dHeightTest (138 ms) [ RUN ] QIODevice::write (QTcpSocket): device not open ArmDriveURTest.SimulationTest Com3 open failed [ OK ] ArmDriveURTest.SimulationTest (173 ms) [ RUN ] ArmDriveURTest.LaserTargetPoseTest Com3 open failed [ OK ] ArmDriveURTest.LaserTargetPoseTest (197 ms) [ RUN ] QIODevice::write (QTcpSocket): device not open ArmDriveURTest.ChannelTargetPoseTest Com3 open failed [ OK ] ArmDriveURTest.ChannelTargetPoseTest (139 ms) [ RUN ] QIODevice::write (QTcpSocket): device not open ArmDriveURTest.LaserTcpTest Com3 open failed [ OK ] ArmDriveURTest.LaserTcpTest (140 ms) [ RUN ] ArmDriveURTest.ChannelTcpTest QIODevice::write (QTcpSocket): device not open QIODevice::write (QTcpSocket): device not open Com3 open failed [ OK ] ArmDriveURTest.ChannelTcpTest (142 ms) [ RUN ] QIODevice::write (QTcpSocket): device not open ArmDriveURTest.SetLaserTcpTest QIODevice::write (QTcpSocket): device not open Com3 open failed [ OK ] ArmDriveURTest.SetLaserTcpTest (168 ms) [ RUN ] QIODevice::write (QTcpSocket): device not open ArmDriveURTest.SetChannelTcpTest Com3 open failed [ OK ] ArmDriveURTest.SetChannelTcpTest (140 ms) QIODevice::write (QTcpSocket): device not open [ RUN ] ArmDriveURTest.LaserStatusTest Com3 open failed [ OK ] ArmDriveURTest.LaserStatusTest (144 ms) QIODevice::write (QTcpSocket): device not open [ RUN ] ArmDriveURTest.SetDebugTest Com3 open failed [ OK ] ArmDriveURTest.SetDebugTest (133 ms) QIODevice::write (QTcpSocket): device not open [ RUN ] ArmDriveURTest.ArmCtlDlgShowedTest Com3 open failed [ OK ] ArmDriveURTest.ArmCtlDlgShowedTest (147 ms) [ RUN ] ArmDriveURTest.QueryArmJointTest Com3 open failed [ OK ] ArmDriveURTest.QueryArmJointTest (141 ms) [ RUN ] QIODevice::write (QTcpSocket): device not open ArmDriveURTest.ReceiveMoveChannelPathTest Com3 open failed [ OK ] ArmDriveURTest.ReceiveMoveChannelPathTest (140 ms) [ RUN ] ArmDriveURTest.ReceiveMove3dChannelPathTest Com3 open failed [ OK ] ArmDriveURTest.ReceiveMove3dChannelPathTest (141 ms) [ RUN ] ArmDriveURTest.ReceiveCalcPathFinishedTest Com3 open failed [ OK ] ArmDriveURTest.ReceiveCalcPathFinishedTest (147 ms) [ RUN ] ArmDriveURTest.SimulateTargetCartesianTest Com3 open failed [ OK ] ArmDriveURTest.SimulateTargetCartesianTest (138 ms) [ RUN ] QIODevice::write (QTcpSocket): device not open ArmDriveURTest.ToExtendArmTest Com3 open failed [ OK ] ArmDriveURTest.ToExtendArmTest (210 ms) [ RUN ] ArmDriveURTest.ToStowageArmTest Com3 open failed [ OK ] ArmDriveURTest.ToStowageArmTest (191 ms) [----------] 56 tests from ArmDriveURTest (14344 ms total) | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201002 |  | StartServerTest | 开启服务测试 | TEST_F(ArmDriveURTest, StartServerTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201003 |  | StateTest | 状态测试 | TEST_F(ArmDriveURTest, StateTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201004 |  | IsConnectedTest | 是否连接测试 | TEST_F(ArmDriveURTest, IsConnectedTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201005 |  | connectArmTest | 连接机械臂测试 | TEST_F(ArmDriveURTest, IsFreeDriveTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201006 |  | IsFreeDriveTest | 驱动是否空闲测试 | TEST_F(ArmDriveURTest, CheckProcessorTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201007 |  | CheckProcessorTes | 检查处理器测试 | TEST_F(ArmDriveURTest, SetPortTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201008 |  | SetPortTest | 设置端口测试 | TEST_F(ArmDriveURTest, ConnectArmTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201009 |  | ConnectArmTest | 连接机械臂测试 | TEST_F(ArmDriveURTest, DisconnectArmTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201010 |  | StartTest | 开启测试 | TEST_F(ArmDriveURTest, StartTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201011 |  | StopTest | 停止测试 | TEST_F(ArmDriveURTest, StopTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201012 |  | PauseTest | 暂停测试 | TEST_F(ArmDriveURTest, PauseTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201013 |  | ResumeTest | 恢复测试 | TEST_F(ArmDriveURTest, ResumeTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201014 |  | MoveLaserTest | 移动激光测试 | TEST_F(ArmDriveURTest, MoveLaserTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201015 |  | MoveChannelTest | 移动通道测试 | TEST_F(ArmDriveURTest, MoveChannelTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201016 |  | MovePathTest | 移动路径测试 | TEST_F(ArmDriveURTest, MovePathTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201017 |  | SetFreeDriveTest | 设置驱动空闲测试 | TEST_F(ArmDriveURTest, SetFreeDriveTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201018 |  | SetSpeedTest | 设置速度测试 | TEST_F(ArmDriveURTest, SetSpeedTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201019 |  | laserSwitchTest | 激光转换测试 | TEST_F(ArmDriveURTest, laserSwitchTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201020 |  | ResetArmTest | 重启机械臂测试 | TEST_F(ArmDriveURTest, ResetArmTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201021 |  | FrontalLateralResetArmTest | 正侧位重置机械臂测试 | TEST_F(ArmDriveURTest, FrontalLateralResetArmTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201022 |  | ResetLocationTest | 重置定位测试 | TEST_F(ArmDriveURTest, ResetLocationTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201023 |  | AlignArmTest | 校准机械臂测试 | TEST_F(ArmDriveURTest, AlignArmTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201024 |  | OriginPosTest | 起始位置测试 | TEST_F(ArmDriveURTest, OriginPosTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201025 |  | SetOriginTest | 设置起点测试 | TEST_F(ArmDriveURTest, SetOriginTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201026 |  | SetOrigin1Test | 设置起点测试 | TEST_F(ArmDriveURTest, SetOrigin1Test) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201027 |  | SetChannelInvalidTest | 设置通道不合理测试 | TEST_F(ArmDriveURTest, SetChannelInvalidTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201028 |  | ArmPosTest | 机械臂位置测试 | TEST_F(ArmDriveURTest, ArmPosTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201029 |  | FrontalRegisterArmWithXRayTest | 机械臂正位注册测试 | TEST_F(ArmDriveURTest, FrontalRegisterArmWithXRayTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201030 |  | LateralRegisterArmWithXRayTest | 机械臂侧位注册测试 | TEST_F(ArmDriveURTest, LateralRegisterArmWithXRayTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201031 |  | RegisterArmWithXRayTest | 机械臂注册测试 | TEST_F(ArmDriveURTest, RegisterArmWithXRayTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201032 |  | UpdateAngleTest | 更新角度测试 | TEST_F(ArmDriveURTest, UpdateAngleTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201033 |  | UpdateHeightTest | 更新高度测试 | TEST_F(ArmDriveURTest, UpdateHeightTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201034 |  | UpdateHeightAngleTest | 更新高度角度测试 | TEST_F(ArmDriveURTest, UpdateHeightAngleTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201035 |  | StretchArmTest | 拉伸机械臂测试 | TEST_F(ArmDriveURTest, StretchArmTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201036 |  | ExtendArmTest | 展开机械臂测试 | TEST_F(ArmDriveURTest, ExtendArmTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201037 |  | StowageArmTest | 收回机械臂测试 | TEST_F(ArmDriveURTest, StowageArmTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201038 |  | Update2dAngleTest | 更新角度测试 | TEST_F(ArmDriveURTest, Update2dAngleTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201039 |  | Update2dHeightTest | 更新高度测试 | TEST_F(ArmDriveURTest, Update2dHeightTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201040 |  | SimulationTest | 仿真测试 | TEST_F(ArmDriveURTest, SimulationTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201041 |  | LaserTargetPoseTest | 激光定位姿态测试 | TEST_F(ArmDriveURTest, LaserTargetPoseTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201042 |  | ChannelTargetPoseTest | 通道定位姿态测试 | TEST_F(ArmDriveURTest, ChannelTargetPoseTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201043 |  | LaserTcpTest | 激光TCP测试 | TEST_F(ArmDriveURTest, LaserTcpTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201044 |  | ChannelTcpTest | 通道TCP测试 | TEST_F(ArmDriveURTest, ChannelTcpTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201045 |  | SetLaserTcpTest | 设置激光TCP测试 | TEST_F(ArmDriveURTest, SetLaserTcpTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201046 |  | SetChannelTcpTest | 设置通道TCP测试 | TEST_F(ArmDriveURTest, SetChannelTcpTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201047 |  | LaserStatusTest | 激光状态测试 | TEST_F(ArmDriveURTest, LaserStatusTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201048 |  | SetDebugTest | 设置调试模式测试 | TEST_F(ArmDriveURTest, SetDebugTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201049 |  | ArmCtlDlgShowedTest | 机械臂控制对话框测试 | TEST_F(ArmDriveURTest, ArmCtlDlgShowedTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201050 |  | QueryArmJointTest | 查看机械臂关节测试 | TEST_F(ArmDriveURTest, QueryArmJointTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201051 |  | ReceiveMoveChannelPathTest | 接收移动通道路径测试 | TEST_F(ArmDriveURTest, ReceiveMoveChannelPathTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201052 |  | ReceiveMove3dChannelPathTest | 接收移动3D通道路径测试 | TEST_F(ArmDriveURTest, ReceiveMove3dChannelPathTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201053 |  | ReceiveCalcPathFinishedTest | 接收计算路径完成测试 | TEST_F(ArmDriveURTest, ReceiveCalcPathFinishedTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201054 |  | SimulateTargetCartesianTest | 仿真定位笛卡尔坐标系测试 | TEST_F(ArmDriveURTest, SimulateTargetCartesianTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201055 |  | ToExtendArmTest | 开始展开机械臂测试 | TEST_F(ArmDriveURTest, ToExtendArmTest) |  | 杨斌 | 2021-03-13 | OK | PASS
B-UT0201056 |  | ToStowageArmTest | 开始收回机械臂测试 | TEST_F(ArmDriveURTest, ToStowageArmTest) |  | 杨斌 | 2021-03-13 | OK | PASS

## 03仿真
03仿真
测试用例ID | 测试用例 | 测试名称 | 判断 | 输入项目 | 输出结果 | 验证人 | 验证日期 | 结果 | 测试状态
B-UT0301001 | RRTTest | SetStartEndPointTest | 设置起始点、终点测试 | TEST_F(RRTTest, SetStartEndPointTest) | [==========] Running 15 tests from 1 test case. [----------] Global test environment set-up. [----------] 15 tests from RRTTest [ RUN ] RRTTest.SetStartEndPointTest [ OK ] RRTTest.SetStartEndPointTest (6 ms) [ RUN ] RRTTest.SetHighTest [ OK ] RRTTest.SetHighTest (1 ms) [ RUN ] RRTTest.SetModeTest [ OK ] RRTTest.SetModeTest (1 ms) [ RUN ] RRTTest.JudgeJointTest [ OK ] RRTTest.JudgeJointTest (2 ms) [ RUN ] RRTTest.ExtendNewNodeTest [ OK ] RRTTest.ExtendNewNodeTest (2 ms) [ RUN ] RRTTest.FindTreesTest [ OK ] RRTTest.FindTreesTest (137317 ms) [ RUN ] RRTTest.CreatNewRandJointTest [ OK ] RRTTest.CreatNewRandJointTest (1 ms) [ RUN ] RRTTest.MyRandTest [ OK ] RRTTest.MyRandTest (1 ms) [ RUN ] RRTTest.GetNewestAddNodeTest [ OK ] RRTTest.GetNewestAddNodeTest (2 ms) [ RUN ] RRTTest.JudgeReachTest [ OK ] RRTTest.JudgeReachTest (2 ms) [ RUN ] RRTTest.FindPathTest [ OK ] RRTTest.FindPathTest (1 ms) [ RUN ] RRTTest.ToFindPathTest [ OK ] RRTTest.ToFindPathTest (137189 ms) [ RUN ] RRTTest.GetTotalCountTest [ OK ] RRTTest.GetTotalCountTest (1 ms) [ RUN ] RRTTest.GetPathJointByCountTest [ OK ] RRTTest.GetPathJointByCountTest (2 ms) [ RUN ] RRTTest.ReplanPathTest [ OK ] RRTTest.ReplanPathTest (1 ms) [----------] 15 tests from RRTTest (2236116 ms total) | 杨斌 | 2021-03-10 | OK | PASS
B-UT0301002 |  | SetHighTest | 设置基座平面的限制高度测试 | TEST_F(RRTTest, SetHighTest) |  | 杨斌 | 2021-03-10 | OK | PASS
B-UT0301003 |  | SetModeTest | 设置模式测试 | TEST_F(RRTTest, SetModeTest) |  | 杨斌 | 2021-03-10 | OK | PASS
B-UT0301004 |  | JudgeJointTest | 判断角度测试 | TEST_F(RRTTest, JudgeJointTest) |  | 杨斌 | 2021-03-10 | OK | PASS
B-UT0301005 |  | ExtendNewNodeTest | 拓展新节点测试 | TEST_F(RRTTest,ExtendNewNodeTest) |  | 杨斌 | 2021-03-10 | OK | PASS
B-UT0301006 |  | FindTreesTest | 寻找树测试 | TEST_F(RRTTest,FindTreesTest) |  | 杨斌 | 2021-03-10 | OK | PASS
B-UT0301007 |  | CreatNewRandJointTest | 创建新的随机节点测试 | TEST_F(RRTTest, CreatNewRandJointTest) |  | 杨斌 | 2021-03-10 | OK | PASS
B-UT0301008 |  | MyRandTest | 随机测试 | TEST_F(RRTTest, MyRandTest) |  | 杨斌 | 2021-03-10 | OK | PASS
B-UT0301009 |  | GetNewestAddNodeTest | 获取最新增加节点测试 | TEST_F(RRTTest, GetNewestAddNodeTest) |  | 杨斌 | 2021-03-10 | OK | PASS
B-UT0301010 |  | JudgeReachTest | 判断到达测试 | TEST_F(RRTTest, JudgeReachTest) |  | 杨斌 | 2021-03-10 | OK | PASS
B-UT0301011 |  | FindPathTest | 寻找路径点测试 | TEST_F(RRTTest,FindPathTest) |  | 杨斌 | 2021-03-10 | OK | PASS
B-UT0301012 |  | ToFindPathTest | 寻找路径测试 | TEST_F(RRTTest,ToFindPathTest) |  | 杨斌 | 2021-03-10 | OK | PASS
B-UT0301013 |  | GetTotalCountTest | 获取路点个数测试 | TEST_F(RRTTest, GetTotalCountTest) |  | 杨斌 | 2021-03-10 | OK | PASS
B-UT0301014 |  | GetPathJointByCountTest | 根据数量获取路径角度测试 | TEST_F(RRTTest, GetPathJointByCountTest) |  | 杨斌 | 2021-03-10 | OK | PASS
B-UT0301015 |  | ReplanPathTest | 重规划路径测试 | TEST_F(RRTTest,ReplanPathTest) |  | 杨斌 | 2021-03-10 | OK | PASS

## 04登录
04登录
测试用例ID | 测试用例 | 测试名称 | 判断 | 输入项目 | 输出结果 | 验证人 | 验证日期 | 结果 | 测试状态
B-UT0401001 | MainStoreTest | LoginTest | 登录测试 | TEST_F(MainStoreTest, LoginTest) | [----------] 15 tests from MainStoreTest [ RUN ] MainStoreTest.LoginTest [ OK ] MainStoreTest.LoginTest (0 ms) [ RUN ] MainStoreTest.SetUserIDTest [ OK ] MainStoreTest.SetUserIDTest (0 ms) [ RUN ] MainStoreTest.SetPasswordTest [ OK ] MainStoreTest.SetPasswordTest (0 ms) [ RUN ] MainStoreTest.GetPasswordTest [ OK ] MainStoreTest.GetPasswordTest (0 ms) [ RUN ] MainStoreTest.SetLoginTest [ OK ] MainStoreTest.SetLoginTest (0 ms) [ RUN ] MainStoreTest.GetLoginTest [ OK ] MainStoreTest.GetLoginTest (0 ms) [ RUN ] MainStoreTest.SetSoftInVersionTest [ OK ] MainStoreTest.SetSoftInVersionTest (0 ms) [ RUN ] MainStoreTest.GetSoftInVersionTest [ OK ] MainStoreTest.GetSoftInVersionTest (0 ms) [ RUN ] MainStoreTest.GetCablicateTest [ OK ] MainStoreTest.GetCablicateTest (0 ms) [ RUN ] MainStoreTest.SetCablicateTest [ OK ] MainStoreTest.SetCablicateTest (0 ms) [ RUN ] MainStoreTest.GetPasswordChangedTest [ OK ] MainStoreTest.GetPasswordChangedTest (0 ms) [ RUN ] MainStoreTest.SetPasswordChangedTest [ OK ] MainStoreTest.SetPasswordChangedTest (0 ms) [ RUN ] MainStoreTest.GetSipShowIMTest [ OK ] MainStoreTest.GetSipShowIMTest (0 ms) [ RUN ] MainStoreTest.SetSipShowIMTest [ OK ] MainStoreTest.SetSipShowIMTest (163 ms) [ RUN ] MainStoreTest.GetUserInfoTest QSqlQuery::exec: database not open false "" [ OK ] MainStoreTest.GetUserInfoTest (2 ms) [----------] 15 tests from MainStoreTest (173 ms total) | 杨斌 | 2021-02-08 | OK | PASS
B-UT0401002 |  | SetUserIDTest | 设置用户名测试 | TEST_F(MainStoreTest, SetUserIDTest) |  | 杨斌 | 2021-02-08 | OK | PASS
B-UT0401003 |  | SetPasswordTest | 设置密码测试 | TEST_F(MainStoreTest, SetPasswordTest) |  | 杨斌 | 2021-02-08 | OK | PASS
B-UT0401004 |  | GetPasswordTest | 获取密码测试 | TEST_F(MainStoreTest, GetPasswordTest) |  | 杨斌 | 2021-02-08 | OK | PASS
B-UT0401005 |  | SetLoginTest | 设置登录测试 | TEST_F(MainStoreTest, SetLoginTest) |  | 杨斌 | 2021-02-08 | OK | PASS
B-UT0401006 |  | GetLoginTest | 获取登录测试 | TEST_F(MainStoreTest, GetLoginTest) |  | 杨斌 | 2021-02-08 | OK | PASS
B-UT0401007 |  | SetSoftInVersionTest | 设置软件版本信息测试 | TEST_F(MainStoreTest, SetSoftInVersionTest) |  | 杨斌 | 2021-02-08 | OK | PASS
B-UT0401008 |  | GetSoftInVersionTest | 获取软件版本信息测试 | TEST_F(MainStoreTest, GetSoftInVersionTest) |  | 杨斌 | 2021-02-08 | OK | PASS
B-UT0401009 |  | GetCablicateTest | 获取字幕测试 | TEST_F(MainStoreTest, GetCablicateTest) |  | 杨斌 | 2021-02-08 | OK | PASS
B-UT0401010 |  | SetCablicateTest | 设置字幕测试 | TEST_F(MainStoreTest, SetCablicateTest) |  | 杨斌 | 2021-02-08 | OK | PASS
B-UT0401011 |  | GetPasswordChangedTest | 获取密码修改测试 | TEST_F(MainStoreTest, GetPasswordChangedTest) |  | 杨斌 | 2021-02-08 | OK | PASS
B-UT0401012 |  | SetPasswordChangedTest | 设置密码修改测试 | TEST_F(MainStoreTest, SetPasswordChangedTest) |  | 杨斌 | 2021-02-08 | OK | PASS
B-UT0401013 |  | GetSipShowIMTest | 获取显示的图像测试 | TEST_F(MainStoreTest, GetSipShowIMTest) |  | 杨斌 | 2021-02-08 | OK | PASS
B-UT0401014 |  | SetSipShowIMTest | 设置显示的图像测试 | TEST_F(MainStoreTest, SetSipShowIMTest) |  | 杨斌 | 2021-02-08 | OK | PASS
B-UT0401015 |  | GetUserInfoTest | 获取用户信息测试 | TEST_F(MainStoreTest, GetUserInfoTest) |  | 杨斌 | 2021-02-08 | OK | PASS

## 05软件信息
05软件信息
测试用例ID | 测试用例 | 测试名称 | 判断 | 输入项目 | 输出结果 | 验证人 | 验证日期 | 结果 | 测试状态
B-UT0501001 | SoftInfoTest | getSoftInVersionTest | 获取软件版本信息测试 | TEST_F(SoftInfoTest, getSoftInVersionTest) | [----------] 2 tests from SoftInfoTest [ RUN ] SoftInfoTest.getSoftInVersionTest [ OK ] SoftInfoTest.getSoftInVersionTest (1 ms) [ RUN ] SoftInfoTest.setInVersionTest [ OK ] SoftInfoTest.setInVersionTest (0 ms) [----------] 2 tests from SoftInfoTest (2 ms total) | 杨斌 | 2021-02-20 | OK | PASS
B-UT0501002 |  | setInVersionTest | 设置软件版本信息测试 | TEST_F(SoftInfoTest, setInVersionTest) |  | 杨斌 | 2021-02-20 | OK | PASS

## 06配置
06配置
| 测试用例ID | 测试用例 | 测试名称 | 判断 | 输入项目 | 输出结果 | 验证人 | 验证日期 | 结果 | 测试状态
| B-UT0601001 | ConfigSettingsDialogTest | initNetworkRegTest | 初始化网络测试 | TEST_F(ConfigSettingsDialogTest, IninNetworkRegTest) | [----------] 2 tests from ConfigSettingsDialogTest [ RUN ] ConfigSettingsDialogTest.IninNetworkRegTest [ OK ] ConfigSettingsDialogTest.IninNetworkRegTest (12 ms) [ RUN ] ConfigSettingsDialogTest.ConfirmBtnClickTest [ OK ] ConfigSettingsDialogTest.ConfirmBtnClickTest (222 ms) [----------] 2 tests from ConfigSettingsDialogTest (238 ms total) | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0601002 |  | ConfirmBtnClickTest | 确认按钮测试 | TEST_F(ConfigSettingsDialogTest, ConfirmBtnClickTest) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0602001 | CalibrateArmWidgetTest | ShowWidgetTest | 显示正位/侧位窗口测试 | TEST_F(CalibrateArmWidgetTest, ShowWidgetTest) | [----------] 9 tests from CalibrateArmWidgetTest [ RUN ] CalibrateArmWidgetTest.ShowWidgetTest [ OK ] CalibrateArmWidgetTest.ShowWidgetTest (578 ms) [ RUN ] CalibrateArmWidgetTest.FileIsExistTest [ OK ] CalibrateArmWidgetTest.FileIsExistTest (75 ms) [ RUN ] CalibrateArmWidgetTest.ClearFilesTest [ OK ] CalibrateArmWidgetTest.ClearFilesTest (73 ms) [ RUN ] CalibrateArmWidgetTest.SaveImage1Test [ OK ] CalibrateArmWidgetTest.SaveImage1Test (62 ms) [ RUN ] CalibrateArmWidgetTest.SaveImage2Test [ OK ] CalibrateArmWidgetTest.SaveImage2Test (61 ms) [ RUN ] CalibrateArmWidgetTest.CloseEventTest [ OK ] CalibrateArmWidgetTest.CloseEventTest (58 ms) [ RUN ] CalibrateArmWidgetTest.ShowEventTest [ OK ] CalibrateArmWidgetTest.ShowEventTest (72 ms) [ RUN ] CalibrateArmWidgetTest.CalibrateTypeTest [ OK ] CalibrateArmWidgetTest.CalibrateTypeTest (82 ms) [ RUN ] CalibrateArmWidgetTest.ImageCountTest [ OK ] CalibrateArmWidgetTest.ImageCountTest (53 ms) [----------] 9 tests from CalibrateArmWidgetTest (1122 ms total) | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0602002 |  | FileIsExistTest | 文件是否存在测试 | TEST_F(CalibrateArmWidgetTest, FileIsExistTest) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0602003 |  | ClearFilesTest | 清除文件测试 | TEST_F(CalibrateArmWidgetTest, ClearFilesTest) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0602004 |  | SaveImage1Test | 保存图像测试 | TEST_F(CalibrateArmWidgetTest, SaveImage1Test) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0602005 |  | SaveImage2Test | 保存图像测试 | TEST_F(CalibrateArmWidgetTest, SaveImage2Test) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0602006 |  | CloseEventTest | 关闭事件测试 | TEST_F(CalibrateArmWidgetTest, CloseEventTest) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0602007 |  | ShowEventTest | 显示事件测试 | TEST_F(CalibrateArmWidgetTest, ShowEventTest) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0602008 |  | CalibrateTypeTest | 获取校准类型测试 | TEST_F(CalibrateArmWidgetTest, CalibrateTypeTest) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0602009 |  | ImageCountTest | 图像数量测试 | TEST_F(CalibrateArmWidgetTest, ImageCountTest) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0603001 | CalibrateBoardToolImportDialogTest | showEventTest | 显示事件测试 | TEST_F(CalibrateBoardToolImportDialogTest, ShowEventTest) | [----------] 8 tests from CalibrateBoardToolImportDialogTest [ RUN ] CalibrateBoardToolImportDialogTest.ShowEventTest [ OK ] CalibrateBoardToolImportDialogTest.ShowEventTest (35 ms) [ RUN ] CalibrateBoardToolImportDialogTest.KeyPressEventTest [ OK ] CalibrateBoardToolImportDialogTest.KeyPressEventTest (15 ms) [ RUN ] CalibrateBoardToolImportDialogTest.RefreshUsbTest [ OK ] CalibrateBoardToolImportDialogTest.RefreshUsbTest (15 ms) [ RUN ] CalibrateBoardToolImportDialogTest.UpdateUsbRootTest [ OK ] CalibrateBoardToolImportDialogTest.UpdateUsbRootTest (15 ms) [ RUN ] CalibrateBoardToolImportDialogTest.CopyFileToPathTest [ OK ] CalibrateBoardToolImportDialogTest.CopyFileToPathTest (19 ms) [ RUN ] CalibrateBoardToolImportDialogTest.CheckUsbTest [ OK ] CalibrateBoardToolImportDialogTest.CheckUsbTest (15 ms) [ RUN ] CalibrateBoardToolImportDialogTest.ScanDataTest [ OK ] CalibrateBoardToolImportDialogTest.ScanDataTest (42 ms) [ RUN ] CalibrateBoardToolImportDialogTest.IsImportFileTest [ OK ] CalibrateBoardToolImportDialogTest.IsImportFileTest (13 ms) [----------] 8 tests from CalibrateBoardToolImportDialogTest (177 ms total) | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0603002 |  | KeyPressEventTest | 按键测试 | TEST_F(CalibrateBoardToolImportDialogTest, KeyPressEventTest) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0603003 |  | RefreshUsbTest | 刷新USB测试 | TEST_F(CalibrateBoardToolImportDialogTest, RefreshUsbTest) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0603004 |  | UpdateUsbRootTest | 刷新USBRoot测试 | TEST_F(CalibrateBoardToolImportDialogTest, UpdateUsbRootTest) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0603005 |  | CopyFileToPathTest | 拷贝文件到目录测试 | TEST_F(CalibrateBoardToolImportDialogTest, CopyFileToPathTest) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0603006 |  | CheckUsbTest | 检查USB测试 | TEST_F(CalibrateBoardToolImportDialogTest, CheckUsbTest) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0603007 |  | ScanDataTest | 浏览数据测试 | TEST_F(CalibrateBoardToolImportDialogTest, ScanDataTest) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0603008 |  | IsImportFileTest | 是否导入文件测试 | TEST_F(CalibrateBoardToolImportDialogTest, IsImportFileTest) |  | 杨斌 | 2021-03-15 | OK | PASS
| B-UT0604001 | CalibrateControlTest | IsCalibrateStatusTest | 是否校准状态测试 | TEST_F(CalibrateControlTest, IsCalibrateStatusTest) | [----------] 6 tests from CalibrateControlTest [ RUN ] CalibrateControlTest.IsCalibrateStatusTest [ OK ] CalibrateControlTest.IsCalibrateStatusTest (86 ms) [ RUN ] CalibrateControlTest.UpdateStatusTest [ OK ] CalibrateControlTest.UpdateStatusTest (79 ms) [ RUN ] CalibrateControlTest.FrontalCalibrateTest [ OK ] CalibrateControlTest.FrontalCalibrateTest (67 ms) [ RUN ] CalibrateControlTest.LateralCalibrateTest [ OK ] CalibrateControlTest.LateralCalibrateTest (63 ms) [ RUN ] CalibrateControlTest.CalibrateFinishedTest [ OK ] CalibrateControlTest.CalibrateFinishedTest (75 ms) [ RUN ] CalibrateControlTest.NewFrameTest [ OK ] CalibrateControlTest.NewFrameTest (65 ms) [----------] 6 tests from CalibrateControlTest (445 ms total) | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0604002 |  | UpdateStatusTest | 更新状态测试 | TEST(CalibrateControlTest, updateStatusTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0604003 |  | FrontalCalibrateTest | 正位校准测试 | TEST(CalibrateControlTest, frontalCalibrateTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0604004 |  | LateralCalibrateTest | 侧位校准测试 | TEST(CalibrateControlTest, lateralCalibrateTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0604005 |  | CalibrateFinishedTest | 校准完成测试 | TEST_F(CalibrateControlTest, CalibrateFinishedTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0604006 |  | NewFrameTest | 新帧测试 | TEST_F(CalibrateControlTest, NewFrameTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0605001 | ExportImageDialogTest | ShowEventTest | 显示事件测试 | TEST_F(ExportImageDialogTest, ShowEventTest) | [----------] 6 tests from ExportImageDialogTest [ RUN ] ExportImageDialogTest.ShowEventTest Could not parse stylesheet of object 0x17be74e8f60 [ OK ] ExportImageDialogTest.ShowEventTest (32 ms) [ RUN ] ExportImageDialogTest.HideEventTest [ OK ] ExportImageDialogTest.HideEventTest (13 ms) [ RUN ] ExportImageDialogTest.ExporImagesTest [ OK ] ExportImageDialogTest.ExporImagesTest (14 ms) [ RUN ] ExportImageDialogTest.RefreshUsbTest [ OK ] ExportImageDialogTest.RefreshUsbTest (13 ms) [ RUN ] ExportImageDialogTest.UpdateUsbRootTest [ OK ] ExportImageDialogTest.UpdateUsbRootTest (14 ms) [ RUN ] ExportImageDialogTest.CheckUsbTest [ OK ] ExportImageDialogTest.CheckUsbTest (14 ms) [----------] 6 tests from ExportImageDialogTest (109 ms total) | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0605002 |  | HideEventTest | 隐藏事件测试 | TEST_F(ExportImageDialogTest, HideEventTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0605003 |  | ExporImagesTest | 导出图像测试 | TEST_F(ExportImageDialogTest, ExporImagesTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0605004 |  | RefreshUsbTest | 刷新USB测试 | TEST_F(ExportImageDialogTest, RefreshUsbTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0605005 |  | UpdateUsbRootTest | 更新USBroot测试 | TEST_F(ExportImageDialogTest, UpdateUsbRootTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0605006 |  | CheckUsbTest | 检查USB测试 | TEST_F(ExportImageDialogTest, CheckUsbTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0606001 | ExportLogViewTest | checkUsbTest | 检查USB测试 | TEST_F(ExportLogViewTest, checkUsbTest) | [----------] 4 tests from ExportLogViewTest [ RUN ] ExportLogViewTest.checkUsbTest [ OK ] ExportLogViewTest.checkUsbTest (13 ms) [ RUN ] ExportLogViewTest.refreshUsbTest [ OK ] ExportLogViewTest.refreshUsbTest (12 ms) [ RUN ] ExportLogViewTest.reloadClickTest [ OK ] ExportLogViewTest.reloadClickTest (13 ms) [ RUN ] ExportLogViewTest.showEventTest Could not parse stylesheet of object 0x17be74ebc70 [ OK ] ExportLogViewTest.showEventTest (36 ms) [----------] 4 tests from ExportLogViewTest (78 ms total) | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0606002 |  | refreshUsbTest | 刷新USB测试 | TEST_F(ExportLogViewTest, refreshUsbTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0606003 |  | reloadClickTest | 重载按钮测试 | TEST_F(ExportLogViewTest, reloadClickTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0606004 |  | showEventTest | 显示事件测试 | TEST_F(ExportLogViewTest, showEventTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0607001 | ParameterConfigDialogTest | ShowEventTest | 显示事件测试 | TEST_F(ParameterConfigDialogTest, ShowEventTest) | [----------] 3 tests from ParameterConfigDialogTest [ RUN ] ParameterConfigDialogTest.ShowEventTest Could not parse stylesheet of object 0x17be527ac70 [ OK ] ParameterConfigDialogTest.ShowEventTest (91 ms) [ RUN ] ParameterConfigDialogTest.ReadIniSettingsTest Could not parse stylesheet of object 0x17be7642690 [ OK ] ParameterConfigDialogTest.ReadIniSettingsTest (85 ms) [ RUN ] ParameterConfigDialogTest.WriteSettingsTest [ OK ] ParameterConfigDialogTest.WriteSettingsTest (96 ms) [----------] 3 tests from ParameterConfigDialogTest (276 ms total) | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0607002 |  | ReadIniSettingsTest | 读取ini配置测试 | TEST_F(ParameterConfigDialogTest, ReadIniSettingsTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0607003 |  | WriteSettingsTest | 写入ini配置测试 | TEST_F(ParameterConfigDialogTest, WriteSettingsTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0608001 | PasswordDialogTest | ShowEventTest | 显示事件测试 | TEST_F(PasswordDialogTest, ShowEventTest) | [----------] 4 tests from PasswordDialogTest [ RUN ] PasswordDialogTest.ShowEventTest Could not parse stylesheet of object 0x12e7fd7de30 [ OK ] PasswordDialogTest.ShowEventTest (184 ms) [ RUN ] PasswordDialogTest.CloseEventTest Could not parse stylesheet of object 0x12e7e8fd430 [ OK ] PasswordDialogTest.CloseEventTest (54731 ms) [ RUN ] PasswordDialogTest.ConfirmBtnClickTest Could not parse stylesheet of object 0x12e7e8fcb70 [ OK ] PasswordDialogTest.ConfirmBtnClickTest (7396 ms) [ RUN ] PasswordDialogTest.CancelBtnClickTest Could not parse stylesheet of object 0x12e7e8fd5f0 [ OK ] PasswordDialogTest.CancelBtnClickTest (38273 ms) [----------] 4 tests from PasswordDialogTest (100597 ms total) | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0608002 |  | CloseEventTest | 关闭事件测试 | TEST_F(PasswordDialogTest, CloseEventTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0608003 |  | ConfirmBtnClickTest | 确认按钮测试 | TEST_F(PasswordDialogTest, ConfirmBtnClickTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0608004 |  | cancelBtnTest | 取消按钮测试 | TEST_F(PasswordDialogTest, CancelBtnClickTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0609001 | PromptDialogTest | SetPromptText1Test | 设置提示文本测试 | TEST_F(PromptDialogTest, SetPromptText1Test) | [----------] 2 tests from PromptDialogTest [ RUN ] PromptDialogTest.SetPromptText1Test [ OK ] PromptDialogTest.SetPromptText1Test (5 ms) [ RUN ] PromptDialogTest.SetPromptText2Test [ OK ] PromptDialogTest.SetPromptText2Test (4 ms) [----------] 2 tests from PromptDialogTest (14 ms total) | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0609002 |  | SetPromptText2Test | 按照类别设置提示文本测试 | TEST_F(PromptDialogTest, SetPromptText2Test) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0610001 | RegisterDialogTest | RegisterLicenseTest | 注册许可测试 | TEST_F(RegisterDialogTest, RegisterLicenseTest) | [----------] 4 tests from RegisterDialogTest [ RUN ] RegisterDialogTest.RegisterLicenseTest [ OK ] RegisterDialogTest.RegisterLicenseTest (1203 ms) [ RUN ] RegisterDialogTest.PaintEventTest Could not parse stylesheet of object 0x12e7ecd9fe0 [ OK ] RegisterDialogTest.PaintEventTest (79459 ms) [ RUN ] RegisterDialogTest.KeyPressEventTest [ OK ] RegisterDialogTest.KeyPressEventTest (8 ms) [ RUN ] RegisterDialogTest.CloseEventTest [ OK ] RegisterDialogTest.CloseEventTest (9 ms) [----------] 4 tests from RegisterDialogTest (80683 ms total) | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0610002 |  | PaintEventTest | 界面绘制事件测试 | TEST_F(RegisterDialogTest, PaintEventTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0610003 |  | KeyPressEventTest | 键盘按压事件测试 | TEST_F(RegisterDialogTest, KeyPressEventTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0610004 |  | CloseEventTest | 关闭事件测试 | TEST_F(RegisterDialogTest, CloseEventTest) |  | 杨斌 | 2021-03-17 | OK | PASS
. | B-UT0611001 | RegistrationResultWidgetTest | FrontalRegisterationImageTest | 正位校准图像测试 | TEST_F(RegistrationResultWidgetTest, FrontalRegisterationImageTest) | [----------] 2 tests from RegistrationResultWidgetTest [ RUN ] RegistrationResultWidgetTest.FrontalRegisterationImageTest QPixmap::scaled: Pixmap is a null pixmap [ OK ] RegistrationResultWidgetTest.FrontalRegisterationImageTest (31 ms) [ RUN ] RegistrationResultWidgetTest.LateralRegisterationImageTest QPixmap::scaled: Pixmap is a null pixmap [ OK ] RegistrationResultWidgetTest.LateralRegisterationImageTest (3 ms) [----------] 2 tests from RegistrationResultWidgetTest (36 ms total) | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0611002 |  | LateralRegisterationImageTest | 侧位校准图像测试 | TEST_F(RegistrationResultWidgetTest, LateralRegisterationImageTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0612001 | ToolSelectDialogTest | ShowEventTest | 显示事件测试 | TEST_F(ToolSelectDialogTest, ShowEventTest) | [----------] 6 tests from ToolSelectDialogTest [ RUN ] ToolSelectDialogTest.ShowEventTest Unknown property selection-border-color Unknown property selection-border-color Unknown property selection-border-color Unknown property selection-border-color no tool ini files [ OK ] ToolSelectDialogTest.ShowEventTest (41 ms) [ RUN ] ToolSelectDialogTest.KeyPressEventTest Unknown property selection-border-color Unknown property selection-border-color [ OK ] ToolSelectDialogTest.KeyPressEventTest (22 ms) [ RUN ] ToolSelectDialogTest.CloseEventTest Unknown property selection-border-color Unknown property selection-border-color [ OK ] ToolSelectDialogTest.CloseEventTest (19 ms) [ RUN ] ToolSelectDialogTest.InitToolSelectViewTest Unknown property selection-border-color Unknown property selection-border-color [ OK ] ToolSelectDialogTest.InitToolSelectViewTest (20 ms) [ RUN ] ToolSelectDialogTest.LoadToolInformationTest Unknown property selection-border-color Unknown property selection-border-color no tool ini files [ OK ] ToolSelectDialogTest.LoadToolInformationTest (20 ms) [ RUN ] ToolSelectDialogTest.ScanDataTest Unknown property selection-border-color Unknown property selection-border-color [ OK ] ToolSelectDialogTest.ScanDataTest (402 ms) [----------] 6 tests from ToolSelectDialogTest (529 ms total) | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0612002 |  | KeyPressEventTest | 键盘按压事件测试 | TEST_F(ToolSelectDialogTest, KeyPressEventTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0612003 |  | CloseEventTest | 关闭事件测试 | TEST_F(ToolSelectDialogTest, CloseEventTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0612004 |  | InitToolSelectViewTest | 初始化工具选择界面测试 | TEST_F(ToolSelectDialogTest, InitToolSelectViewTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0612005 |  | LoadToolInformationTest | 载入工具信息测试 | TEST_F(ToolSelectDialogTest, LoadToolInformationTest) |  | 杨斌 | 2021-03-17 | OK | PASS
| B-UT0612006 |  | ScanDataTest | 浏览数据测试 | TEST_F(ToolSelectDialogTest, ScanDataTest) |  | 杨斌 | 2021-03-17 | OK | PASS

## 07日志
07日志
测试用例ID | 测试用例 | 测试名称 | 判断 | 输入项目 | 输出结果 | 验证人 | 验证日期 | 结果 | 测试状态
B-UT0701001 | MilestoneLogTest | WriteMilestoneLogInfoTest | 关键日志写入测试 | TEST_F(MilestoneLogTest, WriteMilestoneLogInfoTest) | [[----------] 2 tests from MilestoneLogTest [ RUN ] MilestoneLogTest.writeLog [ OK ] MilestoneLogTest.writeLog (1 ms) [ RUN ] MilestoneLogTest.endLog [ OK ] MilestoneLogTest.endLog (0 ms) [----------] 2 tests from MilestoneLogTest (1 ms total) | 杨斌 | 2021-03-02 | OK | PASS
B-UT0701002 |  | WriteMilestoneLogWarnTest | 关键日志写入警告测试 | TEST_F(MilestoneLogTest, WriteMilestoneLogWarnTest) |  | 杨斌 | 2021-03-02 | OK | PASS
B-UT0701003 |  | WriteMilestoneLogErrorTest | 关键日志写入错误测试 | TEST_F(MilestoneLogTest, WriteMilestoneLogErrorTest) |  | 杨斌 | 2021-03-02 | OK | PASS
B-UT0701004 |  | MilestoneLogEndLogTest | 关键日志写入结束测试 | TEST_F(MilestoneLogTest, MilestoneLogEndLogTest) |  | 杨斌 | 2021-03-02 | OK | PASS
B-UT0702001 | SystemLogTest | WritLogInfoTest | 写日志信息测试 | TEST_F(SystemLogTest, WritLogInfoTest) | [----------] 4 tests from MilestoneLogTest [ RUN ] MilestoneLogTest.WriteMilestoneLogInfoTest [ OK ] MilestoneLogTest.WriteMilestoneLogInfoTest (1 ms) [ RUN ] MilestoneLogTest.WriteMilestoneLogWarnTest [ OK ] MilestoneLogTest.WriteMilestoneLogWarnTest (1 ms) [ RUN ] MilestoneLogTest.WriteMilestoneLogErrorTest [ OK ] MilestoneLogTest.WriteMilestoneLogErrorTest (1 ms) [ RUN ] MilestoneLogTest.MilestoneLogEndLogTest [ OK ] MilestoneLogTest.MilestoneLogEndLogTest (1 ms) [----------] 4 tests from MilestoneLogTest (13 ms total) | 杨斌 | 2021-03-02 | OK | PASS
B-UT0702002 |  | WriteLogWarningTest | 结束写入警告测试 | TEST_F(SystemLogTest, WriteLogWarningTest) |  | 杨斌 | 2021-03-02 | OK | PASS
B-UT0702003 |  | WriteLogErrorTest | 日志写入错误测试 | TEST_F(SystemLogTest, WriteLogErrorTest) |  | 杨斌 | 2021-03-02 | OK | PASS
B-UT0702004 |  | EndLogTest | 结束日志测试 | TEST_F(SystemLogTest, EndLogTest) |  | 杨斌 | 2021-03-02 | OK | PASS

## 08系统退出
08系统退出
测试用例ID | 测试用例 | 测试名称 | 判断 | 输入项目 | 输出结果 | 验证人 | 验证日期 | 结果 | 测试状态
B-UT0801001 | MainStoreTest | invokeSystemExitTest | 系统退出测试 | TEST_F(SystemExitTest, invokeSystemExitTest) | [----------] 1 test from SystemExitTest [ RUN ] SystemExitTest.invokeSystemExitTest [ OK ] SystemExitTest.invokeSystemExitTest (3811 ms) [----------] 1 test from SystemExitTest (3813 ms total) | 杨斌 | 2021-03-04 | OK | PASS

## 09软件注册
09软件注册
测试用例 |  | 测试名称 | 判断 | 输入项目 | 输出结果 | 验证人 | 验证日期 | 结果 | 测试状态
B-UT0901001 | SystemInfoTest | cpuIdTest | 是否获取CPU序列号测试 | TEST_F(SystemInfoTest, cpuIdTest) | [----------] 2 tests from SystemInfoTest [ RUN ] SystemInfoTest.cpuIdTest [ OK ] SystemInfoTest.cpuIdTest (0 ms) [ RUN ] SystemInfoTest.diskIdTest [ OK ] SystemInfoTest.diskIdTest (0 ms) [----------] 2 tests from SystemInfoTest (0 ms total) | 杨斌 | 2021-02-25 | OK | PASS
B-UT0901002 |  | diskIdTest | 是否获取硬盘序列号测试 | TEST_F(SystemInfoTest, diskIdTest) |  | 杨斌 | 2021-02-25 | OK | PASS
B-UT0902001 | SoftLicenseTest | systemCodeTest | 生成机器码测试 | TEST_F(SoftLicenseTest, systemCodeTest) | [----------] 3 tests from SoftLicenseTest [ RUN ] SoftLicenseTest.systemCodeTest [ OK ] SoftLicenseTest.systemCodeTest (1202 ms) [ RUN ] SoftLicenseTest.generateLicenseTest [ OK ] SoftLicenseTest.generateLicenseTest (0 ms) [ RUN ] SoftLicenseTest.IsValidTest QCoreApplication::applicationDirPath: Please instantiate the QApplication object first [ OK ] SoftLicenseTest.IsValidTest (15 ms) [----------] 3 tests from SoftLicenseTest (1218 ms total) | 杨斌 | 2021-02-25 | OK | PASS
B-UT0902002 |  | generateLicenseTest | 生成注册码测试 | TEST_F(SoftLicenseTest, generateLicenseTest) |  | 杨斌 | 2021-02-25 | OK | PASS
B-UT0902003 |  | IsValidTest | 判断注册码的有效性测试 | TEST_F(SoftLicenseTest, IsValidTest) |  | 杨斌 | 2021-02-25 | OK | PASS
B-UT0903001 | RegisterDialogTest | RegisterLicenseTest | 注册证测试 | TEST_F(RegisterDialogTest, RegisterLicenseTest) | [----------] 4 tests from RegisterDialogTest [ RUN ] RegisterDialogTest.RegisterLicenseTest [ OK ] RegisterDialogTest.RegisterLicenseTest (1329 ms) [ RUN ] RegisterDialogTest.PaintEventTest Could not parse stylesheet of object 0x2127b0b93f0 [ OK ] RegisterDialogTest.PaintEventTest (3355 ms) [ RUN ] RegisterDialogTest.KeyPressEventTest [ OK ] RegisterDialogTest.KeyPressEventTest (7 ms) [ RUN ] RegisterDialogTest.CloseEventTest [ OK ] RegisterDialogTest.CloseEventTest (6 ms) [----------] 4 tests from RegisterDialogTest (5387 ms total) | 杨斌 | 2021-02-25 | OK | PASS
B-UT0903002 |  | PaintEventTest | 绘制事件测试 | TEST_F(RegisterDialogTest, PaintEventTest) |  | 杨斌 | 2021-02-25 | OK | PASS
B-UT0903003 |  | KeyPressEventTest | 键盘按压时间测试 | TEST_F(RegisterDialogTest, KeyPressEventTest) |  | 杨斌 | 2021-02-25 | OK | PASS
B-UT0903004 |  | CloseEventTest | 关闭事件测试 | TEST_F(RegisterDialogTest, CloseEventTest) |  | 杨斌 | 2021-02-25 | OK | PASS

## 10网络
10网络
测试用例ID | 测试用例 | 测试名称 | 判断 | 输入项目 | 输出结果 | 验证人 | 验证日期 | 结果 | 测试状态
B-UT1001001 | ImageDataTest | IsNullTest | 是否为空测试 | TEST_F(ImageDataTest, IsNullTest) | [----------] 11 tests from ImageDataTest [ RUN ] ImageDataTest.IsNullTest [ OK ] ImageDataTest.IsNullTest (0 ms) [ RUN ] ImageDataTest.CopyTest [ OK ] ImageDataTest.CopyTest (0 ms) [ RUN ] ImageDataTest.FromatTest [ OK ] ImageDataTest.FromatTest (0 ms) [ RUN ] ImageDataTest.BytesPerLineTest [ OK ] ImageDataTest.BytesPerLineTest (0 ms) [ RUN ] ImageDataTest.WidthTest [ OK ] ImageDataTest.WidthTest (0 ms) [ RUN ] ImageDataTest.HeightTest [ OK ] ImageDataTest.HeightTest (0 ms) [ RUN ] ImageDataTest.ByteCountTest [ OK ] ImageDataTest.ByteCountTest (0 ms) [ RUN ] ImageDataTest.BitsTest [ OK ] ImageDataTest.BitsTest (0 ms) [ RUN ] ImageDataTest.ConvertTo1Test [ OK ] ImageDataTest.ConvertTo1Test (108 ms) [ RUN ] ImageDataTest.ConvertTo2Test [ OK ] ImageDataTest.ConvertTo2Test (5 ms) [ RUN ] ImageDataTest.TrunToSquareTest [ OK ] ImageDataTest.TrunToSquareTest (0 ms) [----------] 11 tests from ImageDataTest (138 ms total) | 杨斌 | 2021-03-06 | OK | PASS
B-UT1001002 |  | CopyTest | 拷贝测试 | TEST_F(ImageDataTest, CopyTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1001003 |  | FromatTest | 格式化测试 | TEST_F(ImageDataTest, FromatTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1001004 |  | BytesPerLineTest | 一行字节数测试 | TEST_F(ImageDataTest, BytesPerLineTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1001005 |  | WidthTest | 宽测试 | TEST_F(ImageDataTest, WidthTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1001006 |  | HeightTest | 高测试 | TEST_F(ImageDataTest, HeightTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1001007 |  | ByteCountTest | 字节数测试 | TEST_F(ImageDataTest, ByteCountTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1001008 |  | BitsTest | 比特测试 | TEST_F(ImageDataTest, BitsTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1001009 |  | ConvertTo1Test | 转换测试 | TEST_F(ImageDataTest, ConvertTo1Test) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1001010 |  | ConvertTo2Test | 转换测试 | TEST_F(ImageDataTest, ConvertTo2Test) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1001011 |  | TrunToSquareTest | 变正方形测试 | TEST_F(ImageDataTest, TrunToSquareTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002001 | ImageService3DTest | PosMatrixDataTest | 姿态矩阵数据测试 | TEST_F(ImageService3DTest, PosMatrixDataTest) | [----------] 16 tests from ImageService3DTest [ RUN ] ImageService3DTest.PosMatrixDataTest [ OK ] ImageService3DTest.PosMatrixDataTest (1 ms) [ RUN ] ImageService3DTest.StartServerTest [ OK ] ImageService3DTest.StartServerTest (30 ms) [ RUN ] ImageService3DTest.StartListenTest [ OK ] ImageService3DTest.StartListenTest (0 ms) [ RUN ] ImageService3DTest.ProcessCommandTest QIODevice::write (QTcpSocket): device not open [ OK ] ImageService3DTest.ProcessCommandTest (37 ms) [ RUN ] ImageService3DTest.ParseTest QIODevice::write (QTcpSocket): device not open [ OK ] ImageService3DTest.ParseTest (2 ms) [ RUN ] ImageService3DTest.SendCommandTest QIODevice::write (QTcpSocket): device not open [ OK ] ImageService3DTest.SendCommandTest (1 ms) [ RUN ] ImageService3DTest.GenerateCodeTest [ OK ] ImageService3DTest.GenerateCodeTest (0 ms) [ RUN ] ImageService3DTest.SetLocateTest [ OK ] ImageService3DTest.SetLocateTest (1 ms) [ RUN ] ImageService3DTest.SendFrontalImageTest QIODevice::write (QTcpSocket): device not open [ OK ] ImageService3DTest.SendFrontalImageTest (2 ms) [ RUN ] ImageService3DTest.SendLateralImageTest QIODevice::write (QTcpSocket): device not open [ OK ] ImageService3DTest.SendLateralImageTest (2 ms) [ RUN ] ImageService3DTest.SendFeedbackFrontalImageTest QIODevice::write (QTcpSocket): device not open [ OK ] ImageService3DTest.SendFeedbackFrontalImageTest (1 ms) [ RUN ] ImageService3DTest.SendFeedbackLateralImageTest QIODevice::write (QTcpSocket): device not open [ OK ] ImageService3DTest.SendFeedbackLateralImageTest (2 ms) [ RUN ] ImageService3DTest.SendLateralImageMatrixTest QIODevice::write (QTcpSocket): device not open [ OK ] ImageService3DTest.SendLateralImageMatrixTest (5 ms) [ RUN ] ImageService3DTest.Frontal2LateralMatrixTest QIODevice::write (QTcpSocket): device not open [ OK ] ImageService3DTest.Frontal2LateralMatrixTest (1 ms) [ RUN ] ImageService3DTest.SendFrontalImageParamTest QIODevice::write (QTcpSocket): device not open [ OK ] ImageService3DTest.SendFrontalImageParamTest (2 ms) [ RUN ] ImageService3DTest.SendLateralImageMatrixParamTest QIODevice::write (QTcpSocket): device not open [ OK ] ImageService3DTest.SendLateralImageMatrixParamTest (2 ms) [----------] 16 tests from ImageService3DTest (101 ms total) | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002002 |  | StartServerTest | 开始服务测试 | TEST_F(ImageService3DTest, StartServerTest) |  | 杨斌 | 2021-03-06 | OK_ | PASS
B-UT1002003 |  | StartListenTest | 开始监听测试 | TEST_F(ImageService3DTest, StartListenTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002004 |  | ProcessCommandTest | 解析命令测试 | TEST_F(ImageService3DTest, ProcessCommandTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002005 |  | ParseTest | 解析测试 | TEST_F(ImageService3DTest, ParseTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002006 |  | SendCommandTest | 发送命令测试 | TEST_F(ImageService3DTest, SendCommandTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002007 |  | GenerateCodeTest | 生成代码测试 | TEST_F(ImageService3DTest, GenerateCodeTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002008 |  | SetLocateTest | 设置位置测试 | TEST_F(ImageService3DTest, SetLocateTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002009 |  | SendFrontalImageTest | 发送正位图像测试 | TEST_F(ImageService3DTest, SendFrontalImageTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002010 |  | SendLateralImageTest | 发送侧位图像测试 | TEST_F(ImageService3DTest, SendLateralImageTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002011 |  | SendFeedbackFrontalImageTest | 发送正位反馈图像测试 | TEST_F(ImageService3DTest, SendFeedbackFrontalImageTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002012 |  | SendFeedbackLateralImageTest | 发送侧位反馈图像测试 | TEST_F(ImageService3DTest, SendFeedbackLateralImageTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002013 |  | SendLateralImageMatrixTest | 发送侧位图像与矩阵参数测试 | TEST_F(ImageService3DTest, SendLateralImageMatrixTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002014 |  | Frontal2LateralMatrixTest | 正侧位矩阵测试 | TEST_F(ImageService3DTest, Frontal2LateralMatrixTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002015 |  | SendFrontalImageParamTest | 发送正位图片和参数测试 | TEST_F(ImageService3DTest, SendFrontalImageParamTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1002016 |  | SendLateralImageMatrixParamTest | 发送侧位图片和矩阵参数测试 | TEST_F(ImageService3DTest, SendLateralImageMatrixParamTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003001 | ArmURDashboardProcessorTest | ConnectDashboardTest | 连接面板测试 | TEST_F(ArmURDashboardProcessorTest, ConnectDashboardTest) | [----------] 23 tests from ArmURDashboardProcessorTest [ RUN ] ArmURDashboardProcessorTest.ConnectDashboardTest [ OK ] ArmURDashboardProcessorTest.ConnectDashboardTest (257 ms) [ RUN ] ArmURDashboardProcessorTest.ConnectToServerTest [ OK ] ArmURDashboardProcessorTest.ConnectToServerTest (218 ms) [ RUN ] ArmURDashboardProcessorTest.DisconnectFromServerTest [ OK ] ArmURDashboardProcessorTest.DisconnectFromServerTest (1 ms) [ RUN ] ArmURDashboardProcessorTest.PlayTest [ OK ] ArmURDashboardProcessorTest.PlayTest (1 ms) [ RUN ] ArmURDashboardProcessorTest.PauseTest [ OK ] ArmURDashboardProcessorTest.PauseTest (1 ms) [ RUN ] ArmURDashboardProcessorTest.StopTest [ OK ] ArmURDashboardProcessorTest.StopTest (2 ms) [ RUN ] ArmURDashboardProcessorTest.QuitTest [ OK ] ArmURDashboardProcessorTest.QuitTest (2 ms) [ RUN ] ArmURDashboardProcessorTest.ShutDownTest [ OK ] ArmURDashboardProcessorTest.ShutDownTest (2 ms) [ RUN ] ArmURDashboardProcessorTest.RestartTest [ OK ] ArmURDashboardProcessorTest.RestartTest (2 ms) [ RUN ] ArmURDashboardProcessorTest.StartProgramTest [ OK ] ArmURDashboardProcessorTest.StartProgramTest (1 ms) [ RUN ] ArmURDashboardProcessorTest.IsConnectedTest [ OK ] ArmURDashboardProcessorTest.IsConnectedTest (1 ms) [ RUN ] ArmURDashboardProcessorTest.IpAddrTest [ OK ] ArmURDashboardProcessorTest.IpAddrTest (0 ms) [ RUN ] ArmURDashboardProcessorTest.SendCmdPackagesTest [ OK ] ArmURDashboardProcessorTest.SendCmdPackagesTest (0 ms) [ RUN ] ArmURDashboardProcessorTest.SendSingleCmdTest [ OK ] ArmURDashboardProcessorTest.SendSingleCmdTest (0 ms) [ RUN ] ArmURDashboardProcessorTest.RobotStateTest [ OK ] ArmURDashboardProcessorTest.RobotStateTest (1 ms) [ RUN ] ArmURDashboardProcessorTest.ClosePopupTest [ OK ] ArmURDashboardProcessorTest.ClosePopupTest (1 ms) [ RUN ] ArmURDashboardProcessorTest.SetPresssedTest [ OK ] ArmURDashboardProcessorTest.SetPresssedTest (0 ms) [ RUN ] ArmURDashboardProcessorTest.ResetLocationTest [ OK ] ArmURDashboardProcessorTest.ResetLocationTest (1 ms) [ RUN ] ArmURDashboardProcessorTest.SetLocationStatusTest [ OK ] ArmURDashboardProcessorTest.SetLocationStatusTest (1 ms) [ RUN ] ArmURDashboardProcessorTest.GenerateCodeTest [ OK ] ArmURDashboardProcessorTest.GenerateCodeTest (2 ms) [ RUN ] ArmURDashboardProcessorTest.CheckStatusTest [ OK ] ArmURDashboardProcessorTest.CheckStatusTest (1 ms) [ RUN ] ArmURDashboardProcessorTest.ParseDataTest [ OK ] ArmURDashboardProcessorTest.ParseDataTest (1 ms) [ RUN ] ArmURDashboardProcessorTest.ProcessCommandTest [ OK ] ArmURDashboardProcessorTest.ProcessCommandTest (1 ms) [----------] 23 tests from ArmURDashboardProcessorTest (510 ms total) | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003002 |  | ConnectToServerTest | 连接到服务测试 | TEST_F(ArmURDashboardProcessorTest, ConnectToServerTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003003 |  | DisconnectFromServerTest | 断开服务连接测试 | TEST_F(ArmURDashboardProcessorTest, DisconnectFromServerTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003004 |  | PlayTest | 执行测试 | TEST_F(ArmURDashboardProcessorTest, PlayTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003005 |  | PauseTest | 暂停测试 | TEST_F(ArmURDashboardProcessorTest, PauseTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003006 |  | StopTest | 停止测试 | TEST_F(ArmURDashboardProcessorTest, StopTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003007 |  | QuitTest | 退出测试 | TEST_F(ArmURDashboardProcessorTest, QuitTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003008 |  | ShutDownTest | 关闭测试 | TEST_F(ArmURDashboardProcessorTest, ShutDownTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003009 |  | RestartTest | 重启测试 | TEST_F(ArmURDashboardProcessorTest, RestartTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003010 |  | StartProgramTest | 启动程序测试 | TEST_F(ArmURDashboardProcessorTest, StartProgramTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003011 |  | IsConnectedTest | 是否连接测试 | TEST_F(ArmURDashboardProcessorTest, IsConnectedTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003012 |  | IpAddrTest | 获取IP测试 | TEST_F(ArmURDashboardProcessorTest, IpAddrTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003013 |  | SendCmdPackagesTest | 发送命名包测试 | TEST_F(ArmURDashboardProcessorTest, SendCmdPackagesTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003014 |  | SendSingleCmdTest | 发送一条命令测试 | TEST_F(ArmURDashboardProcessorTest, SendSingleCmdTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003015 |  | RobotStateTest | 获取机器状态测试 | TEST_F(ArmURDashboardProcessorTest, RobotStateTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003016 |  | ClosePopupTest | 关闭弹窗测试 | TEST_F(ArmURDashboardProcessorTest, ClosePopupTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003017 |  | SetPresssedTest | 设置压下测试 | TEST_F(ArmURDashboardProcessorTest, SetPresssedTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003018 |  | ResetLocationTest | 重置位置测试 | TEST_F(ArmURDashboardProcessorTest, ResetLocationTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003019 |  | SetLocationStatusTest | 设置位置状态测试 | TEST_F(ArmURDashboardProcessorTest, SetLocationStatusTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003020 |  | GenerateCodeTest | 生成代码测试 | TEST_F(ArmURDashboardProcessorTest, GenerateCodeTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003021 |  | CheckStatusTest | 检查状态测试 | TEST_F(ArmURDashboardProcessorTest, CheckStatusTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003022 |  | ParseDataTest | 解析数据测试 | TEST_F(ArmURDashboardProcessorTest, ParseDataTest) |  | 杨斌 | 2021-03-06 | OK | PASS
B-UT1003023 |  | ProcessCommandTest | 加工命令测试 | TEST_F(ArmURDashboardProcessorTest, ProcessCommandTest) |  | 杨斌 | 2021-03-06 | OK | PASS

## 11机械臂控制
11机械臂控制
测试用例ID | 测试用例 | 测试名称 | 判断 | 输入项目 | 输出结果 | 验证人 | 验证日期 | 结果 | 测试状态
B-UT1101001 | ArmJointControlTest | MoveTest | 运动测试 | TEST_F(ArmJointControlTest, MoveTest) | [----------] 4 tests from ArmJointControlTest [ RUN ] ArmJointControlTest.MoveTest [ OK ] ArmJointControlTest.MoveTest (1062 ms) [ RUN ] ArmJointControlTest.SetPortTest [ OK ] ArmJointControlTest.SetPortTest (1013 ms) [ RUN ] ArmJointControlTest.InitArmJointViewTest [ OK ] ArmJointControlTest.InitArmJointViewTest (3 ms) [ RUN ] ArmJointControlTest.SetFetchStatusTest [ OK ] ArmJointControlTest.SetFetchStatusTest (1 ms) [----------] 4 tests from ArmJointControlTest (2085 ms total) | 杨斌 | 2021-02-18 | OK | PASS
B-UT1101002 |  | SetPortTest | 设置端口测试 | TEST_F(ArmJointControlTest, SetPortTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1101003 |  | InitArmJointViewTest | 初始化视图测试 | TEST_F(ArmJointControlTest, InitArmJointViewTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1101004 |  | SetFetchStatusTest | 设置获取状态测试 | TEST_F(ArmJointControlTest, SetFetchStatusTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1102001 | GetArmJointProcessorTest | SetPortTest | 设置端口测试 | TEST_F(GetArmJointProcessorTest, SetPortTest) | [----------] 11 tests from GetArmJointProcessorTest [ RUN ] GetArmJointProcessorTest.SetPortTest [ OK ] GetArmJointProcessorTest.SetPortTest (1 ms) [ RUN ] GetArmJointProcessorTest.SetIpaddressTest [ OK ] GetArmJointProcessorTest.SetIpaddressTest (1 ms) [ RUN ] GetArmJointProcessorTest.ConnectURTest [ OK ] GetArmJointProcessorTest.ConnectURTest (243 ms) [ RUN ] GetArmJointProcessorTest.PackageHeadUpdatedTest [ OK ] GetArmJointProcessorTest.PackageHeadUpdatedTest (0 ms) [ RUN ] GetArmJointProcessorTest.InitViewTest [ OK ] GetArmJointProcessorTest.InitViewTest (0 ms) [ RUN ] GetArmJointProcessorTest.DisconnectURTest [ OK ] GetArmJointProcessorTest.DisconnectURTest (0 ms) [ RUN ] GetArmJointProcessorTest.IsConnectedTest [ OK ] GetArmJointProcessorTest.IsConnectedTest (0 ms) [ RUN ] GetArmJointProcessorTest.StartConnectTest [ OK ] GetArmJointProcessorTest.StartConnectTest (1227 ms) [ RUN ] GetArmJointProcessorTest.ParsePacketTest [ OK ] GetArmJointProcessorTest.ParsePacketTest (1 ms) [ RUN ] GetArmJointProcessorTest.GetDoubleTest [ OK ] GetArmJointProcessorTest.GetDoubleTest (0 ms) [ RUN ] GetArmJointProcessorTest.SetFetchStatusTest [ OK ] GetArmJointProcessorTest.SetFetchStatusTest (1 ms) [----------] 11 tests from GetArmJointProcessorTest (1481 ms total) | 杨斌 | 2021-02-18 | OK | PASS
B-UT1102002 |  | SetIpaddressTest | 设置IP测试 | TEST_F(GetArmJointProcessorTest, SetIpaddressTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1102003 |  | ConnectURTest | 连接UR测试 | TEST_F(GetArmJointProcessorTest, ConnectURTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1102004 |  | PackageHeadUpdatedTest | 更新包头测试 | TEST_F(GetArmJointProcessorTest, PackageHeadUpdatedTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1102005 |  | InitViewTest | 初始化视图测试 | TEST_F(GetArmJointProcessorTest, InitViewTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1102006 |  | DisconnectURTest | 断开连接UR测试 | TEST_F(GetArmJointProcessorTest, DisconnectURTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1102007 |  | IsConnectedTest | 是否连接测试 | TEST_F(GetArmJointProcessorTest, IsConnectedTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1102008 |  | StartConnectTest | 开始连接作业测试 | TEST_F(GetArmJointProcessorTest, StartConnectTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT11020010 |  | ParsePacketTest | 解包测试 | TEST_F(GetArmJointProcessorTest, ParsePacketTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT11020011 |  | GetDoubleTest | 获取双精度测试 | TEST_F(GetArmJointProcessorTest, GetDoubleTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT11020012 |  | SetFetchStatusTest | 设置获取状态测试 | TEST_F(GetArmJointProcessorTest, SetFetchStatusTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1103001 | ArmJointControlProcessorTest | SetPortTest | 设置端口测试 | TEST_F(ArmJointControlProcessorTest, SetPortTest) | [----------] 7 tests from ArmJointControlProcessorTest [ RUN ] ArmJointControlProcessorTest.SetPortTest [ OK ] ArmJointControlProcessorTest.SetPortTest (0 ms) [ RUN ] ArmJointControlProcessorTest.SetIpaddressTest [ OK ] ArmJointControlProcessorTest.SetIpaddressTest (0 ms) [ RUN ] ArmJointControlProcessorTest.ConnectURTest [ OK ] ArmJointControlProcessorTest.ConnectURTest (208 ms) [ RUN ] ArmJointControlProcessorTest.DisconnectURTest [ OK ] ArmJointControlProcessorTest.DisconnectURTest (1 ms) [ RUN ] ArmJointControlProcessorTest.IsConnectedTest [ OK ] ArmJointControlProcessorTest.IsConnectedTest (0 ms) [ RUN ] ArmJointControlProcessorTest.MoveTest [ OK ] ArmJointControlProcessorTest.MoveTest (0 ms) [ RUN ] ArmJointControlProcessorTest.StartConnectTest [ OK ] ArmJointControlProcessorTest.StartConnectTest (204 ms) [----------] 7 tests from ArmJointControlProcessorTest (431 ms total) | 杨斌 | 2021-02-18 | OK | PASS
B-UT1103002 |  | SetIpaddressTest | 设置IP测试 | TEST_F(ArmJointControlProcessorTest, SetIpaddressTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1103003 |  | ConnectURTest | 连接UR测试 | TEST_F(ArmJointControlProcessorTest, ConnectURTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1103004 |  | DisconnectURTest | UR断开连接测试 | TEST_F(ArmJointControlProcessorTest, DisconnectURTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1103005 |  | IsConnectedTest | 是否连接测试 | TEST_F(ArmJointControlProcessorTest, IsConnectedTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1103006 |  | MoveTest | 移动测试 | TEST_F(ArmJointControlProcessorTest, MoveTest) |  | 杨斌 | 2021-02-18 | OK | PASS
B-UT1103007 |  | StartConnectTest | 开始连接测试 | TEST_F(ArmJointControlProcessorTest, StartConnectTest) |  | 杨斌 | 2021-02-18 | OK | PASS